## EQUIPMENT LIST
No | ID | Tool | Manufacturer | Model | Serial Number | Buying Price of Equipment (RM)
1 | ICP RIE | Reactive ION Etching | SAMCO | RIE-10 IP |  | 1200000
2 | RTA | Rapid Thermal Anneal | FORALL | RAPID TREMAL PROCESSING SYSTEM | FA 07031001 | 450000
3 | LPCVD | Low Pressure Chemical Vapour Dep | SEMICONDUCTOR INDUSTRY SUPPORT SDN BHD | HLV-1100 |  | 560000
4 | HT Eva | Thermal Evaporator | ADVANCE TECHNOLOGIES ENGINEERING (M) SDN. BHD | HHV AUTO 306 | R 051-48 | 355800
5 |  | Spin Coater | LAURELL | WS-400B-6NPP | 5523 | 10000
6 |  | LT Furnace | ADSCITED SDN. BHD | TF50-1200 | LT039 | 17000
7 |  | Vacuum Oven | ADSCITED SDN. BHD | VC 6020 | 112856 | 29000
8 |  | Plasma Preen System | PLASMATIC SYSTEM, Inc | PLASMA PREEN 11-862 | 390 | 20000
9 |  | Mask Aligner | MIDAS SYSTEM CO,LTD | MDA -400M | 11571 | 330000
10 |  | Wet/Dry Oxidation Furnace | MODULAB | 906-1300 | 69932188111109 | 200000
11 |  | Muffle Furnace | NANJING OXY TECHNOLOGIES | OXY2-4-10T | 21007 | 17000
12 |  | Silent/Oil Compressor | DALISHEN | DWD 1808 | 2010031 | 20000
13 |  | Gravity/Natural Convection Oven | PROTECH | GOV-50D | 5010278/910 | 3030
14 |  | Ultra Sonic Cleaner DC200H | DELTA | DC 200H | 318 | 5000
15 |  | Four Point Probe | EVERBING INT'L CORP | SR-4 |  | 64130
16 |  | High Power Microscope 250X | OLYMPUS | BX 51 | 9C09578 | 97500
17 |  | 3-D Surface Profilometer | PEMTRON | HAWK 3D WT-250 |  | 80000
18 |  | Dielectric Analyzer | NOVOCONTROL TECHNOLOGIES | ALPHA- A | 6.0_200_40_256_ANB_18042008 | 500000
19 |  | Ellipsometer | DISCRETE WAVELENGHT | PHE-101© | 710019 | 90000
4048460